## Sheet1
Device/Test | Manufacturer | Approval/Clearance Year* | Regulatory Body | Country/Region | Device Type | Primary Use | NAFLD/MASLD | NASH/MASH | Fibrosis | Cirrhosis
FibroScan® (Transient Elastography) | Echosens | FDA Clearance 2013 | FDA | USA | Ultrasound Elastography | Liver stiffness measurement and steatosis assessment (CAP) | Yes | Yes | Yes | Yes
FibroScan® (CE Mark) | Echosens | 2003 | CE Mark | Europe | Ultrasound Elastography | Non-invasive fibrosis assessment | Yes | Yes | Yes | Yes
CAP (Controlled Attenuation Parameter) | Echosens | Integrated into FibroScan (FDA updates 2017–2022) | FDA / CE | USA, Europe | Steatosis Quantification | Liver fat measurement | Yes | Yes | Limited | No
ELF™ Test | Siemens Healthineers | 2021 | FDA De Novo Authorization | USA | Blood-Based Diagnostic Test | Advanced fibrosis risk assessment in NASH | Yes | Yes | Yes | Limited
ELF™ Test | Siemens Healthineers | Prior to FDA approval (widely used since ~2007) | CE Mark | Europe | Blood-Based Diagnostic Test | Fibrosis staging | Yes | Yes | Yes | Limited
FibroTouch® | Hisky Medical Technologies | NMPA approval ~2013; international clearances later | NMPA, CE | China, Europe | Ultrasound Elastography | Liver stiffness and steatosis assessment | Yes | Yes | Yes | Yes
Magnetic Resonance Elastography (MRE) | Multiple vendors (GE, Siemens, Philips) | FDA-cleared software modules since 2009–2015 | FDA | USA | MRI-based Elastography | Quantitative fibrosis mapping | Yes | Yes | Yes | Yes
Magnetic Resonance Elastography (MRE) | Multiple vendors | CE Mark (various years) | CE Mark | Europe | MRI-based Elastography | Advanced fibrosis and cirrhosis diagnosis | Yes | Yes | Yes | Yes
Shear Wave Elastography (SWE) | Supersonic Imagine (now Hologic) | FDA Clearance 2013 | FDA | USA | Ultrasound Elastography | Liver fibrosis staging | Yes | Yes | Yes | Yes
2D Shear Wave Elastography | Canon Medical | FDA Clearance 2015–2018 | FDA | USA | Ultrasound Elastography | Non-invasive fibrosis assessment | Yes | Yes | Yes | Yes
VTQ/ARFI Elastography | Siemens Healthineers | FDA Clearance 2012 | FDA | USA | Ultrasound Elastography | Liver stiffness measurement | Yes | Yes | Yes | Yes
ATI (Attenuation Imaging) | Canon Medical | 2018–2020 | CE/FDA (platform dependent) | Europe, USA | Fat Quantification Ultrasound | Hepatic steatosis assessment | Yes | Yes | Limited | No
FibroScan® (VCTE) | Echosens | CE Mark: 2003; FDA: 2013 | CE Mark, FDA | Europe, USA, Global | Liver Stiffness Measurement (LSM, kPa); Controlled Attenuation Parameter (CAP, dB/m) | Assessment of liver fibrosis, cirrhosis, and hepatic steatosis in MASLD/NAFLD and MASH/NASH |  | LSM: F0–F4 fibrosis staging; CAP: S0–S3 steatosis grading
ELF™ Test | Siemens Healthineers | CE Mark: ~2007; FDA De Novo: 2021 | CE Mark, FDA | Europe, USA | Hyaluronic Acid (HA), Procollagen III N-terminal Peptide (PIIINP), Tissue Inhibitor of Metalloproteinase-1 (TIMP-1) | Prediction of advanced fibrosis and liver-related clinical outcomes in MASH/NASH |  | ELF Score ≥9.8 suggests advanced fibrosis; ≥11.3 indicates severe fibrosis/cirrhosis risk
FibroTouch® | Hisky Medical Technologies | NMPA: ~2013; CE Mark subsequently | NMPA, CE Mark | China, Europe, Asia-Pacific | Ultrasound Attenuation Parameter (UAP); Liver Stiffness Measurement (LSM) | Simultaneous evaluation of liver fat accumulation and fibrosis severity |  | UAP for steatosis grading; LSM for fibrosis staging (F0–F4)
Magnetic Resonance Elastography (MRE) | GE HealthCare, Siemens Healthineers, Philips Healthcare | FDA-cleared modules: 2009–2015 | FDA, CE Mark | USA, Europe, Global | Quantitative tissue stiffness (kPa) obtained through MRI | Highly accurate non-invasive staging of liver fibrosis and cirrhosis |  | ≥3.0 kPa indicates significant fibrosis; >4.5–5.0 kPa suggests advanced fibrosis/cirrhosis
Shear Wave Elastography (SWE) | Hologic (Supersonic Imagine), Canon, Samsung, GE, Mindray | FDA Clearances: 2012–2018 | FDA, CE Mark | USA, Europe, Global | Shear wave velocity (m/s) or stiffness (kPa) | Detection and monitoring of liver fibrosis and cirrhosis |  | F0–F4 fibrosis staging based on liver stiffness thresholds
Attenuation Imaging (ATI) | Canon Medical Systems | CE/FDA approvals: 2018–2020 (platform dependent) | FDA, CE Mark | USA, Europe, Japan | Ultrasound attenuation coefficient (dB/cm/MHz) | Non-invasive measurement of liver fat content in MASLD/NAFLD |  | Quantitative assessment of hepatic steatosis (S0–S3)
Acoustic Radiation Force Impulse (ARFI) / Virtual Touch Quantification (VTQ) | Siemens Healthineers | FDA Clearance: 2012 | FDA, CE Mark | USA, Europe | Shear wave velocity (m/s) | Liver fibrosis staging and chronic liver disease assessment |  | Differentiation of mild, moderate, and advanced fibrosis
Vibration-Controlled Transient Elastography (VCTE) | Echosens | FDA Clearance: 2013 | FDA, CE Mark | USA, Europe | Liver stiffness (kPa) | Standard non-invasive fibrosis assessment tool used in hepatology clinics worldwide |  | Significant fibrosis (≥F2), advanced fibrosis (≥F3), cirrhosis (F4)